## Sheet1
samplename | filename | sample_label | feedstock | sample_type | derivatized | uL_samples_in1000uL | sample_conc_mg_mL | total_sample_conc_in_vial_mg_L | sample_yield_on_feedstock_basis_fr | calibration_file | Y_HC | Y_SC | mHC_extracted_mg | Ext_vol_mL | dilution_factor | calc_mSCdry_mg | mSCdry_mg | compound_with_max_area | compound_with_max_conc | max_height | max_area | max_area_if_undiluted | max_conc_vial_mg_L | max_conc_vial_if_undiluted_mg_L | max_fraction_of_sample_fr | max_fraction_of_feedstock_fr | total_height | total_area | total_area_if_undiluted | total_conc_vial_mg_L | total_conc_vial_if_undiluted_mg_L | total_fraction_of_sample_fr | total_fraction_of_feedstock_fr
AP-SCDD-200 | ['AP-SCDD-200_1', 'AP-SCDD-200_2', 'AP-SCDD-200_3'] | ['AP-DD_1', 'AP-DD_2', 'AP-DD_3'] | ['AP250C1h', 'AP250C1h', 'AP250C1h'] | ['SCDD', 'SCDD', 'SCDD'] | [True, True, True] | [200, 200, 200] | [0.8, 0.8, 0.8] | [800, 800, 800] | [0.0645, 0.0645, 0.0645] | ['CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA'] | [0.3225, 0.3225, 0.3225] | [0.2, 0.2, 0.2] | [500, 500, 500] | [25, 25, 25] | [5, 5, 5] | [0.8, 0.8, 0.8] | [0.7, 0.7, 0.4] | unidentified | hydroquinone, 2tms derivative | 317828 | 1194876.6667 | 5974383.3333 | 20.8847 | 104.4235 | 0.026106 | 0.0016838 | 1007078.8333 | 4510975.3333 | 22554876.6667 | 104.5261 | 522.6307 | 0.13066 | 0.0084274
AP-SCDN-1000 | ['AP-SCDN-1000_1', 'AP-SCDN-1000_2', 'AP-SCDN-1000_3'] | ['AP-DN_1', 'AP-DN_2', 'AP-DN_3'] | ['AP250C1h', 'AP250C1h', 'AP250C1h'] | ['SCDN', 'SCDN', 'SCDN'] | [False, False, False] | [1000, 1000, 1000] | [4.0, 4.0, 4.0] | [4000, 4000, 4000] | [0.0645, 0.0645, 0.0645] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.3225, 0.3225, 0.3225] | [0.2, 0.2, 0.2] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [4.0, 4.0, 4.0] | [2.8, 2.8, 2.8] | unidentified | pentanoic acid, 4-oxo- | 577342.3333 | 4151636 | 4151636 | 106.2205 | 106.2205 | 0.026555 | 0.0017128 | 5328317.6667 | 28738353.8333 | 28738353.8333 | 845.7432 | 845.7432 | 0.21144 | 0.013638
AP-SCNN-1000 | ['AP-SCNN-1000_1', 'AP-SCNN-1000_2', 'AP-SCNN-1000_3'] | ['AP-NN_1', 'AP-NN_2', 'AP-NN_3'] | ['AP250C1h', 'AP250C1h', 'AP250C1h'] | ['SCNN', 'SCNN', 'SCNN'] | [False, False, False] | [1000, 1000, 1000] | [4.0, 4.0, 4.0] | [4000, 4000, 4000] | [0.0645, 0.0645, 0.0645] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.3225, 0.3225, 0.3225] | [0.2, 0.2, 0.2] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [4.0, 4.0, 4.0] | [nan, nan, nan] | unidentified | pentanoic acid, 4-oxo- | 531941.3333 | 3611928 | 3611928 | 102.947 | 102.947 | 0.025737 | 0.00166 | 5168381 | 27535402.1667 | 27535402.1667 | 771.4656 | 771.4656 | 0.19287 | 0.01244
CLS-SCDD-1000 | ['CLS-SCDD-1000_1', 'CLS-SCDD-1000_2', 'CLS-SCDD-1000_3'] | ['CLS-DD_1', 'CLS-DD_2', 'CLS-DD_3'] | ['CLS250C1h', 'CLS250C1h', 'CLS250C1h'] | ['SCDD', 'SCDD', 'SCDD'] | [True, True, True] | [1000, 1000, 1000] | [2.8, 2.8, 2.8] | [2800, 2800, 2800] | [0.069748, 0.069748, 0.069748] | ['CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA'] | [0.4982, 0.4982, 0.4982] | [0.14, 0.14, 0.14] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [2.8, 2.8, 2.8] | [2.2, 2.2, 2.2] | unidentified | 3,4-dihydroxybenzophenone, bis(trimethylsilyl) ether | 663275 | 18862726.3333 | 18862726.3333 | 216.8719 | 216.8719 | 0.077454 | 0.0054023 | 5970798.1667 | 45420976 | 45420976 | 818.4977 | 818.4977 | 0.29232 | 0.020389
CLS-SCDN-1000 | ['CLS-SCDN-1000_1', 'CLS-SCDN-1000_2', 'CLS-SCDN-1000_3'] | ['CLS-DN_1', 'CLS-DN_2', 'CLS-DN_3'] | ['CLS250C1h', 'CLS250C1h', 'CLS250C1h'] | ['SCDN', 'SCDN', 'SCDN'] | [False, False, False] | [1000, 1000, 1000] | [2.8, 2.8, 2.8] | [2800, 2800, 2800] | [0.069748, 0.069748, 0.069748] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.4982, 0.4982, 0.4982] | [0.14, 0.14, 0.14] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [2.8, 2.8, 2.8] | [2.6, 2.5, 2.2] | pentanoic acid, 4-oxo- | pentanoic acid, 4-oxo- | 358199.6667 | 6514754.3333 | 6514754.3333 | 241.6715 | 241.6715 | 0.086311 | 0.00602 | 1679026.5 | 12484055.6667 | 12484055.6667 | 403.449 | 403.449 | 0.14409 | 0.01005
CLS-SCNN-1000 | ['CLS-SCNN-1000_1', 'CLS-SCNN-1000_2', 'CLS-SCNN-1000_3'] | ['CLS-NN_1', 'CLS-NN_2', 'CLS-NN_3'] | ['CLS250C1h', 'CLS250C1h', 'CLS250C1h'] | ['SCNN', 'SCNN', 'SCNN'] | [False, False, False] | [1000, 1000, 1000] | [2.8, 2.8, 2.8] | [2800, 2800, 2800] | [0.069748, 0.069748, 0.069748] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.4982, 0.4982, 0.4982] | [0.14, 0.14, 0.14] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [2.8, 2.8, 2.8] | [nan, nan, nan] | pentanoic acid, 4-oxo- | pentanoic acid, 4-oxo- | 603171.3333 | 20418605.3333 | 20418605.3333 | 742.8394 | 742.8394 | 0.2653 | 0.018504 | 6617732.3333 | 48799058.8333 | 48799058.8333 | 1202.5417 | 1202.5417 | 0.42948 | 0.029955
FW-SCDD-8 | ['FW-SCDD-8_1', 'FW-SCDD-8_2', 'FW-SCDD-8_3'] | ['FW-DD_1', 'FW-DD_2', 'FW-DD_3'] | ['FW250C1h', 'FW250C1h', 'FW250C1h'] | ['SCDD', 'SCDD', 'SCDD'] | [True, True, True] | [8, 8, 8] | [0.112, 0.112, 0.112] | [112, 112, 112] | [0.38438724356363246, 0.38438724356363246, 0.38438724356363246] | ['CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA'] | [0.5491246336623321, 0.5491246336623321, 0.5491246336623321] | [0.7, 0.7, 0.7] | [500, 500, 500] | [25, 25, 25] | [125, 125, 125] | [0.112, 0.112, 0.112] | [0.6, 0.3, 0.2] | oleic acid, tms derivative | 9,12-octadecadienoic acid (z,z)-, tms derivative | 528874.6667 | 1750723.6667 | 218840458.3333 | 32.036 | 4004.5007 | 0.28604 | 0.10995 | 1599775 | 4845622.3333 | 605702791.6667 | 112.9241 | 14115.5081 | 1.0083 | 0.38756
FW-SCDN-40 | ['FW-SCDN-40_1', 'FW-SCDN-40_2', 'FW-SCDN-40_3'] | ['FW-DN_1', 'FW-DN_2', 'FW-DN_3'] | ['FW250C1h', 'FW250C1h', 'FW250C1h'] | ['SCDN', 'SCDN', 'SCDN'] | [False, False, False] | [40, 40, 40] | [0.56, 0.56, 0.56] | [560, 560, 560] | [0.38438724356363246, 0.38438724356363246, 0.38438724356363246] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.5491246336623321, 0.5491246336623321, 0.5491246336623321] | [0.7, 0.7, 0.7] | [500, 500, 500] | [25, 25, 25] | [25, 25, 25] | [0.56, 0.56, 0.56] | [1.1, 1.0, 0.7] | oleic acid | 9,12-octadecadienoic acid (z,z)- | 1085569 | 6294480.3333 | 157362008.3333 | 124.9314 | 3123.2857 | 0.22309 | 0.085754 | 2360626.1667 | 12206289.8333 | 305157245.8333 | 455.1039 | 11377.5979 | 0.81269 | 0.31239
FW-SCNN-40 | ['FW-SCNN-40_1', 'FW-SCNN-40_2', 'FW-SCNN-40_3'] | ['FW-NN_1', 'FW-NN_2', 'FW-NN_3'] | ['FW250C1h', 'FW250C1h', 'FW250C1h'] | ['SCNN', 'SCNN', 'SCNN'] | [False, False, False] | [40, 40, 40] | [0.56, 0.56, 0.56] | [560, 560, 560] | [0.38438724356363246, 0.38438724356363246, 0.38438724356363246] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.5491246336623321, 0.5491246336623321, 0.5491246336623321] | [0.7, 0.7, 0.7] | [500, 500, 500] | [25, 25, 25] | [25, 25, 25] | [0.56, 0.56, 0.56] | [nan, nan, nan] | oleic acid | 9,12-octadecadienoic acid (z,z)- | 1032776.3333 | 5699592 | 142489800 | 114.4439 | 2861.0964 | 0.20436 | 0.078555 | 2076167.3333 | 10331736.6667 | 258293416.6667 | 414.3739 | 10359.3479 | 0.73995 | 0.28443
FWd-SCNN-1000 | ['FWd-SCNN-1000_1', 'FWd-SCNN-1000_2', 'FWd-SCNN-1000_3'] | ['FWd-NN_1', 'FWd-NN_2', 'FWd-NN_3'] | ['FW250C1h', 'FW250C1h', 'FW250C1h'] | ['SCNN', 'SCNN', 'SCNN'] | [False, False, False] | [1000, 1000, 1000] | [14.0, 14.0, 14.0] | [14000, 14000, 14000] | [0.38438724356363246, 0.38438724356363246, 0.38438724356363246] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.5491246336623321, 0.5491246336623321, 0.5491246336623321] | [0.7, 0.7, 0.7] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [14.0, 14.0, 14.0] | [nan, nan, nan] | 9-octadecenoic acid (z)-, 2,3-dihydroxypropyl ester | 9-octadecenoic acid (z)-, 2,3-dihydroxypropyl ester | 4024875 | 32059618 | 32059618 | 305.548 | 305.548 | 0.021825 | 0.0083892 | 14064318.8333 | 102210955.1667 | 102210955.1667 | 1960.2922 | 1960.2922 | 0.14002 | 0.053822
MIS-SCDD-1000 | ['MIS-SCDD-1000_1', 'MIS-SCDD-1000_2', 'MIS-SCDD-1000_3'] | ['MIS-DD_1', 'MIS-DD_2', 'MIS-DD_3'] | ['MIS250C1h', 'MIS250C1h', 'MIS250C1h'] | ['SCDD', 'SCDD', 'SCDD'] | [True, True, True] | [1000, 1000, 1000] | [6.4, 6.4, 6.4] | [6400, 6400, 6400] | [0.15648, 0.15648, 0.15648] | ['CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA'] | [0.489, 0.489, 0.489] | [0.32, 0.32, 0.32] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [6.4, 6.4, 6.4] | [0.8, 0.8, 0.8] | unidentified | 3-hydroxybenzoic acid, 2tms derivative | 1414437.3333 | 40783186 | 40783186 | 144.1253 | 144.1253 | 0.02252 | 0.0035239 | 13118252.1667 | 99949445.8333 | 99949445.8333 | 655.3412 | 655.3412 | 0.1024 | 0.016023
MIS-SCDN-1000 | ['MIS-SCDN-1000_2', 'MIS-SCDN-1000_3'] | ['MIS-DN_2', 'MIS-DN_3'] | ['MIS250C1h', 'MIS250C1h'] | ['SCDN', 'SCDN'] | [False, False] | [1000, 1000] | [6.4, 6.4] | [6400, 6400] | [0.15648, 0.15648] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.489, 0.489] | [0.32, 0.32] | [500, 500] | [25, 25] | [1, 1] | [6.4, 6.4] | [3.3, 3.3] | unidentified | 5-hydroxymethylfurfural | 890575 | 17793775.5 | 17793775.5 | 192.072 | 192.072 | 0.030011 | 0.0046962 | 9909433 | 60245838 | 60245838 | 989.8018 | 989.8018 | 0.15466 | 0.024201
MIS-SCDN-500 | ['MIS-SCDN-500_1'] | ['MIS-DN_1'] | ['MIS250C1h'] | ['SCDN'] | [False] | [500] | [3.2] | [3200] | [0.15648] | ['CalDB_rxi300rt5sr10'] | [0.489] | [0.32] | [500] | [25] | [2] | [3.2] | [3.3] | unidentified | 5-hydroxymethylfurfural | 359694 | 2686058 | 5372116 | 80.0846 | 160.1691 | 0.025026 | 0.0039161 | 2430601 | 12234447 | 24468894 | 418.9857 | 837.9715 | 0.13093 | 0.020488
MIS-SCNN-1000 | ['MIS-SCNN-1000_2', 'MIS-SCNN-1000_3'] | ['MIS-NN_2', 'MIS-NN_3'] | ['MIS250C1h', 'MIS250C1h'] | ['SCNN', 'SCNN'] | [False, False] | [1000, 1000] | [6.4, 6.4] | [6400, 6400] | [0.15648, 0.15648] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.489, 0.489] | [0.32, 0.32] | [500, 500] | [25, 25] | [1, 1] | [6.4, 6.4] | [nan, nan] | unidentified | 5-hydroxymethylfurfural | 931831.5 | 18942304 | 18942304 | 198.7981 | 198.7981 | 0.031062 | 0.0048606 | 10081699 | 61895899 | 61895899 | 1021.3212 | 1021.3212 | 0.15958 | 0.024971
MIS-SCNN-500 | ['MIS-SCNN-500_1'] | ['MIS-NN_1'] | ['MIS250C1h'] | ['SCNN'] | [False] | [500] | [3.2] | [3200] | [0.15648] | ['CalDB_rxi300rt5sr10'] | [0.489] | [0.32] | [500] | [25] | [2] | [3.2] | [nan] | unidentified | 5-hydroxymethylfurfural | 449258 | 3933667 | 7867334 | 95.8287 | 191.6573 | 0.029946 | 0.004686 | 3464800 | 17125728 | 34251456 | 558.3005 | 1116.6011 | 0.17447 | 0.027301