## Sheet1
samplename | filename | sample_label | feedstock | sample_type | derivatized | uL_samples_in1000uL | sample_conc_mg_mL | total_sample_conc_in_vial_mg_L | sample_yield_on_feedstock_basis_fr | calibration_file | Y_HC | Y_SC | mHC_extracted_mg | Ext_vol_mL | dilution_factor | calc_mSCdry_mg | mSCdry_mg | compound_with_max_area | compound_with_max_conc | max_height | max_area | max_area_if_undiluted | max_conc_vial_mg_L | max_conc_vial_if_undiluted_mg_L | max_fraction_of_sample_fr | max_fraction_of_feedstock_fr | total_height | total_area | total_area_if_undiluted | total_conc_vial_mg_L | total_conc_vial_if_undiluted_mg_L | total_fraction_of_sample_fr | total_fraction_of_feedstock_fr
AP-SCDD-200 | ['AP-SCDD-200_1', 'AP-SCDD-200_2', 'AP-SCDD-200_3'] | ['AP-DD_1', 'AP-DD_2', 'AP-DD_3'] | ['AP250C1h', 'AP250C1h', 'AP250C1h'] | ['SCDD', 'SCDD', 'SCDD'] | [True, True, True] | [200, 200, 200] | [0.8, 0.8, 0.8] | [800, 800, 800] | [0.0645, 0.0645, 0.0645] | ['CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA'] | [0.3225, 0.3225, 0.3225] | [0.2, 0.2, 0.2] | [500, 500, 500] | [25, 25, 25] | [5, 5, 5] | [0.8, 0.8, 0.8] | [0.7, 0.7, 0.4] | ['unidentified', 'unidentified', 'unidentified'] | ['resorcinol, 2tms derivative', '3-hydroxybenzoic acid, 2tms derivative', '3-hydroxybenzoic acid, 2tms derivative'] | 7144.9666 | 178912.3055 | 894561.5277 | 1.5631 | 7.8157 | 0.0019539 | 0.00012603 | 30336.2076 | 238636.4981 | 1193182.4906 | 4.3231 | 21.6155 | 0.0054039 | 0.00034855
AP-SCDN-1000 | ['AP-SCDN-1000_1', 'AP-SCDN-1000_2', 'AP-SCDN-1000_3'] | ['AP-DN_1', 'AP-DN_2', 'AP-DN_3'] | ['AP250C1h', 'AP250C1h', 'AP250C1h'] | ['SCDN', 'SCDN', 'SCDN'] | [False, False, False] | [1000, 1000, 1000] | [4.0, 4.0, 4.0] | [4000, 4000, 4000] | [0.0645, 0.0645, 0.0645] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.3225, 0.3225, 0.3225] | [0.2, 0.2, 0.2] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [4.0, 4.0, 4.0] | [2.8, 2.8, 2.8] | ['unidentified', 'unidentified', 'unidentified'] | ['pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-'] | 151565.3571 | 1719189.974 | 1719189.974 | 27.3392 | 27.3392 | 0.0068348 | 0.00044084 | 1063780.9858 | 7500824.6367 | 7500824.6367 | 123.2231 | 123.2231 | 0.030806 | 0.001987
AP-SCNN-1000 | ['AP-SCNN-1000_1', 'AP-SCNN-1000_2', 'AP-SCNN-1000_3'] | ['AP-NN_1', 'AP-NN_2', 'AP-NN_3'] | ['AP250C1h', 'AP250C1h', 'AP250C1h'] | ['SCNN', 'SCNN', 'SCNN'] | [False, False, False] | [1000, 1000, 1000] | [4.0, 4.0, 4.0] | [4000, 4000, 4000] | [0.0645, 0.0645, 0.0645] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.3225, 0.3225, 0.3225] | [0.2, 0.2, 0.2] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [4.0, 4.0, 4.0] | [nan, nan, nan] | ['unidentified', 'unidentified', 'unidentified'] | ['pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-'] | 57431.3203 | 638011.4957 | 638011.4957 | 4.8083 | 4.8083 | 0.0012021 | 7.7534e-05 | 252389.5413 | 1902910.5363 | 1902910.5363 | 46.0577 | 46.0577 | 0.011514 | 0.00074268
CLS-SCDD-1000 | ['CLS-SCDD-1000_1', 'CLS-SCDD-1000_2', 'CLS-SCDD-1000_3'] | ['CLS-DD_1', 'CLS-DD_2', 'CLS-DD_3'] | ['CLS250C1h', 'CLS250C1h', 'CLS250C1h'] | ['SCDD', 'SCDD', 'SCDD'] | [True, True, True] | [1000, 1000, 1000] | [2.8, 2.8, 2.8] | [2800, 2800, 2800] | [0.069748, 0.069748, 0.069748] | ['CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA'] | [0.4982, 0.4982, 0.4982] | [0.14, 0.14, 0.14] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [2.8, 2.8, 2.8] | [2.2, 2.2, 2.2] | ['unidentified', 'unidentified', 'unidentified'] | ['3,4-dihydroxybenzophenone, bis(trimethylsilyl) ether', '3,4-dihydroxybenzophenone, bis(trimethylsilyl) ether', '3,4-dihydroxybenzophenone, bis(trimethylsilyl) ether'] | 34774.998 | 3687799.2112 | 3687799.2112 | 84.0644 | 84.0644 | 0.030023 | 0.002094 | 160755.3451 | 3113559.3804 | 3113559.3804 | 101.6461 | 101.6461 | 0.036302 | 0.002532
CLS-SCDN-1000 | ['CLS-SCDN-1000_1', 'CLS-SCDN-1000_2', 'CLS-SCDN-1000_3'] | ['CLS-DN_1', 'CLS-DN_2', 'CLS-DN_3'] | ['CLS250C1h', 'CLS250C1h', 'CLS250C1h'] | ['SCDN', 'SCDN', 'SCDN'] | [False, False, False] | [1000, 1000, 1000] | [2.8, 2.8, 2.8] | [2800, 2800, 2800] | [0.069748, 0.069748, 0.069748] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.4982, 0.4982, 0.4982] | [0.14, 0.14, 0.14] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [2.8, 2.8, 2.8] | [2.6, 2.5, 2.2] | ['pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-'] | ['pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-'] | 9753.4733 | 144591.39 | 144591.39 | 5.2118 | 5.2118 | 0.0018614 | 0.00012983 | 48031.546 | 341152.6137 | 341152.6137 | 27.2819 | 27.2819 | 0.0097435 | 0.00067959
CLS-SCNN-1000 | ['CLS-SCNN-1000_1', 'CLS-SCNN-1000_2', 'CLS-SCNN-1000_3'] | ['CLS-NN_1', 'CLS-NN_2', 'CLS-NN_3'] | ['CLS250C1h', 'CLS250C1h', 'CLS250C1h'] | ['SCNN', 'SCNN', 'SCNN'] | [False, False, False] | [1000, 1000, 1000] | [2.8, 2.8, 2.8] | [2800, 2800, 2800] | [0.069748, 0.069748, 0.069748] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.4982, 0.4982, 0.4982] | [0.14, 0.14, 0.14] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [2.8, 2.8, 2.8] | [nan, nan, nan] | ['pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-'] | ['pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-', 'pentanoic acid, 4-oxo-'] | 72127.7058 | 1430491.8508 | 1430491.8508 | 51.5624 | 51.5624 | 0.018415 | 0.0012844 | 420522.4109 | 5051425.3472 | 5051425.3472 | 26.2336 | 26.2336 | 0.0093691 | 0.00065348
FW-SCDD-8 | ['FW-SCDD-8_1', 'FW-SCDD-8_2', 'FW-SCDD-8_3'] | ['FW-DD_1', 'FW-DD_2', 'FW-DD_3'] | ['FW250C1h', 'FW250C1h', 'FW250C1h'] | ['SCDD', 'SCDD', 'SCDD'] | [True, True, True] | [8, 8, 8] | [0.112, 0.112, 0.112] | [112, 112, 112] | [0.38438724356363246, 0.38438724356363246, 0.38438724356363246] | ['CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA'] | [0.5491246336623321, 0.5491246336623321, 0.5491246336623321] | [0.7, 0.7, 0.7] | [500, 500, 500] | [25, 25, 25] | [125, 125, 125] | [0.112, 0.112, 0.112] | [0.6, 0.3, 0.2] | ['oleic acid, tms derivative', 'oleic acid, tms derivative', 'oleic acid, tms derivative'] | ['9,12-octadecadienoic acid (z,z)-, tms derivative', '9,12-octadecadienoic acid (z,z)-, tms derivative', '9,12-octadecadienoic acid (z,z)-, tms derivative'] | 57288.4464 | 194182.2756 | 24272784.4517 | 4.4804 | 560.0493 | 0.040004 | 0.015377 | 206337.3981 | 701056.1737 | 87632021.7092 | 14.9345 | 1866.8066 | 0.13334 | 0.051255
FW-SCDN-40 | ['FW-SCDN-40_1', 'FW-SCDN-40_2', 'FW-SCDN-40_3'] | ['FW-DN_1', 'FW-DN_2', 'FW-DN_3'] | ['FW250C1h', 'FW250C1h', 'FW250C1h'] | ['SCDN', 'SCDN', 'SCDN'] | [False, False, False] | [40, 40, 40] | [0.56, 0.56, 0.56] | [560, 560, 560] | [0.38438724356363246, 0.38438724356363246, 0.38438724356363246] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.5491246336623321, 0.5491246336623321, 0.5491246336623321] | [0.7, 0.7, 0.7] | [500, 500, 500] | [25, 25, 25] | [25, 25, 25] | [0.56, 0.56, 0.56] | [1.1, 1.0, 0.7] | ['oleic acid', 'oleic acid', 'oleic acid'] | ['9,12-octadecadienoic acid (z,z)-', '9,12-octadecadienoic acid (z,z)-', '9,12-octadecadienoic acid (z,z)-'] | 51393.8973 | 344361.2995 | 8609032.4879 | 2.4621 | 61.5525 | 0.0043966 | 0.00169 | 112257.1498 | 609559.305 | 15238982.6262 | 37.359 | 933.9753 | 0.066713 | 0.025643
FW-SCNN-40 | ['FW-SCNN-40_1', 'FW-SCNN-40_2', 'FW-SCNN-40_3'] | ['FW-NN_1', 'FW-NN_2', 'FW-NN_3'] | ['FW250C1h', 'FW250C1h', 'FW250C1h'] | ['SCNN', 'SCNN', 'SCNN'] | [False, False, False] | [40, 40, 40] | [0.56, 0.56, 0.56] | [560, 560, 560] | [0.38438724356363246, 0.38438724356363246, 0.38438724356363246] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.5491246336623321, 0.5491246336623321, 0.5491246336623321] | [0.7, 0.7, 0.7] | [500, 500, 500] | [25, 25, 25] | [25, 25, 25] | [0.56, 0.56, 0.56] | [nan, nan, nan] | ['oleic acid', 'oleic acid', 'oleic acid'] | ['9,12-octadecadienoic acid (z,z)-', '9,12-octadecadienoic acid (z,z)-', '9,12-octadecadienoic acid (z,z)-'] | 191178.4379 | 1191047.4288 | 29776185.7196 | 24.1477 | 603.6928 | 0.043121 | 0.016575 | 474103.5556 | 2468558.0028 | 61713950.0692 | 70.3509 | 1758.7721 | 0.12563 | 0.048289
FWd-SCNN-1000 | ['FWd-SCNN-1000_1', 'FWd-SCNN-1000_2', 'FWd-SCNN-1000_3'] | ['FWd-NN_1', 'FWd-NN_2', 'FWd-NN_3'] | ['FW250C1h', 'FW250C1h', 'FW250C1h'] | ['SCNN', 'SCNN', 'SCNN'] | [False, False, False] | [1000, 1000, 1000] | [14.0, 14.0, 14.0] | [14000, 14000, 14000] | [0.38438724356363246, 0.38438724356363246, 0.38438724356363246] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.5491246336623321, 0.5491246336623321, 0.5491246336623321] | [0.7, 0.7, 0.7] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [14.0, 14.0, 14.0] | [nan, nan, nan] | ['9-octadecenoic acid (z)-, 2,3-dihydroxypropyl ester', '9-octadecenoic acid (z)-, 2,3-dihydroxypropyl ester', '9-octadecenoic acid (z)-, 2,3-dihydroxypropyl ester'] | ['9-octadecenoic acid (z)-, 2,3-dihydroxypropyl ester', '9-octadecenoic acid (z)-, 2,3-dihydroxypropyl ester', '9-octadecenoic acid (z)-, 2,3-dihydroxypropyl ester'] | 66675.0485 | 1348431.1568 | 1348431.1568 | 12.7335 | 12.7335 | 0.00090953 | 0.00034961 | 795393.2687 | 5498598.8521 | 5498598.8521 | 154.9564 | 154.9564 | 0.011068 | 0.0042545
MIS-SCDD-1000 | ['MIS-SCDD-1000_1', 'MIS-SCDD-1000_2', 'MIS-SCDD-1000_3'] | ['MIS-DD_1', 'MIS-DD_2', 'MIS-DD_3'] | ['MIS250C1h', 'MIS250C1h', 'MIS250C1h'] | ['SCDD', 'SCDD', 'SCDD'] | [True, True, True] | [1000, 1000, 1000] | [6.4, 6.4, 6.4] | [6400, 6400, 6400] | [0.15648, 0.15648, 0.15648] | ['CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA', 'CalDB_rxi300rt5sr10_BSTFA'] | [0.489, 0.489, 0.489] | [0.32, 0.32, 0.32] | [500, 500, 500] | [25, 25, 25] | [1, 1, 1] | [6.4, 6.4, 6.4] | [0.8, 0.8, 0.8] | ['unidentified', 'unidentified', 'unidentified'] | ['3-hydroxybenzoic acid, 2tms derivative', '3-hydroxybenzoic acid, 2tms derivative', '3-hydroxybenzoic acid, 2tms derivative'] | 423883.7619 | 14436340.4282 | 14436340.4282 | 44.9645 | 44.9645 | 0.0070257 | 0.0010994 | 3371608.9714 | 28425600.1766 | 28425600.1766 | 152.4819 | 152.4819 | 0.023825 | 0.0037282
MIS-SCDN-1000 | ['MIS-SCDN-1000_2', 'MIS-SCDN-1000_3'] | ['MIS-DN_2', 'MIS-DN_3'] | ['MIS250C1h', 'MIS250C1h'] | ['SCDN', 'SCDN'] | [False, False] | [1000, 1000] | [6.4, 6.4] | [6400, 6400] | [0.15648, 0.15648] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.489, 0.489] | [0.32, 0.32] | [500, 500] | [25, 25] | [1, 1] | [6.4, 6.4] | [3.3, 3.3] | ['unidentified', 'unidentified'] | ['5-hydroxymethylfurfural', '5-hydroxymethylfurfural'] | 59590.7169 | 3753829.7901 | 3753829.7901 | 12.3005 | 12.3005 | 0.0019219 | 0.00030075 | 735293.4717 | 7297380.8727 | 7297380.8727 | 35.2901 | 35.2901 | 0.0055141 | 0.00086284
MIS-SCDN-500 | ['MIS-SCDN-500_1'] | ['MIS-DN_1'] | ['MIS250C1h'] | ['SCDN'] | [False] | [500] | [3.2] | [3200] | [0.15648] | ['CalDB_rxi300rt5sr10'] | [0.489] | [0.32] | [500] | [25] | [2] | [3.2] | [3.3] | ['unidentified'] | ['5-hydroxymethylfurfural']
MIS-SCNN-1000 | ['MIS-SCNN-1000_2', 'MIS-SCNN-1000_3'] | ['MIS-NN_2', 'MIS-NN_3'] | ['MIS250C1h', 'MIS250C1h'] | ['SCNN', 'SCNN'] | [False, False] | [1000, 1000] | [6.4, 6.4] | [6400, 6400] | [0.15648, 0.15648] | ['CalDB_rxi300rt5sr10', 'CalDB_rxi300rt5sr10'] | [0.489, 0.489] | [0.32, 0.32] | [500, 500] | [25, 25] | [1, 1] | [6.4, 6.4] | [nan, nan] | ['unidentified', 'unidentified'] | ['5-hydroxymethylfurfural', '5-hydroxymethylfurfural'] | 50000.2276 | 3481260.632 | 3481260.632 | 7.1871 | 7.1871 | 0.001123 | 0.00017572 | 300819.4882 | 4555754.6409 | 4555754.6409 | 48.7089 | 48.7089 | 0.0076108 | 0.0011909
MIS-SCNN-500 | ['MIS-SCNN-500_1'] | ['MIS-NN_1'] | ['MIS250C1h'] | ['SCNN'] | [False] | [500] | [3.2] | [3200] | [0.15648] | ['CalDB_rxi300rt5sr10'] | [0.489] | [0.32] | [500] | [25] | [2] | [3.2] | [nan] | ['unidentified'] | ['5-hydroxymethylfurfural']